도내 하수 기반 마약류 모니터링

양은진, 강효정, 김하림, 정다은, 박윤지, 양호철

약품화학과

Monitoring of drugs use in waterwaste-based in Jeollanam-do

E. j. Yang, H. J. kang, H. R. Kim, D. E. Jung, Y. J. Park, H. C. Yang

Pharmaceutical Chemistry Division

Abstract

This study aimed to investigate the detection of nine types of drugs at 10 wastewater treatment plant locations across six regions in Jeollanam-do in 2024 and establish an analysis method for detecting drugs in wastewater. Wastewater samples were collected using grab and composite sampling methods, pretreated, and then analyzed using instrumental analysis to verify the detection results. The results showed that, except for cocaine, fentanyl, and LSD, at least one of the following substances amphetamine, ketamine, MDMA, methamphetamine, morphine, and oxycodone was detected at all 10 sites. In particular, illegal drugs such as amphetamine and methamphetamine were detected at all 10 sites from June to December, while MDMA was detected twice at two sites. When comparing the grab and composite sampling methods, ketamine, morphine, and oxycodone were detected by both methods with similar detection trends and concentrations. Amphetamine was detected in both methods in 2 out of 4 trials, while it was detected only in composite sampling in 1 trial. Comparing grab samples collected at the same time from Monday to Wednesday, amphetamine and methamphetamine concentrations were highest on Monday, decreasing over the days, while morphine was highest on Wednesday. Based on the detection results from wastewater treatment plants, further analysis of intermediate pumping stations and detailed pipeline samples revealed that methamphetamine was detected at concentrations 7 times higher than those found at the pumping stations, and ketamine was detected at concentrations 50 times higher at one site. Through the analysis of narcotic detection in wastewater treatment plants, this study aimed to assess the local narcotic consumption trends, make specific estimates about discharge points and timings, and ultimately identify the sources of narcotic-related crimes, laying the foundation for safety management to prevent and control such crimes.

Key words : drugs, wastewater, amphetamine, cocaine, fentanyl, ketamine, LSD, MDMA, methamphetamine, morphine, oxycodone, grab, composite

1. 6개 시군의 10개 지점 하수처리장을 대상으로 amphetamine, cocaine, fentanyl, ketamine, LSD, MDMA, methamphetamine, morphine, oxycodone 9종의 마약류를 모니터링한 결과 모든 지점에서 cocaine, fentanyl, LSD를 제외한 6종의 물질이 하나 이상 검출되었으며, 의료용으로 처방되는 물질 뿐만 아니라 불법 마약류에 해당하는 amphetamine, MDMA, methamphetamine이 검출되었다. 특히 amphetamine, methamphetamine은 모니터링 대상 지역인 6개의 시·군에서 모두 검출되었다.

2. 모니터링 결과, ketamine은 모든 하수처리장과 6 ~ 12월 모두 일정량이 검출되었고, 이를 제외한 amphetamne, MDMA, methamphetamine은 서부권보다 동부권에서 높게 검출되었으며, 여름철인 6-8월보다 가을, 겨울철인 9 ~ 12월 중에 농도 및 검출률이 높았다. 특히 morphine, oxycodone은 11 ~ 12월에 가장 높게 검출되었고 암 센터 인근에 위치한 화순 하수처리장에서 농도 및 검출률이 가장 높았다.

3. 단일 채수법과 복합 채수법으로 4차례 비교 분석한 결과, amphetamine은 단일 채수에서 한 차례 불검출되었으며, ketamine, morphine, oxycodone은 단일 채수와 복합 채수 모두 검출되었으며 비슷한 검출량을 보였다.

4. 채수 시점별로 비교 분석한 결과 amphetamine, methamphetamine, morphine이 검출되었으며 morphine을 제외한 두 물질 모두 월요일에 가장 높은 농도로 검출되었으며, 화요일, 수요일 순으로 농도가 감소했다. 주말과 주중의 하수를 복합 채수하여 비교 분석 시 주말에 methamphetamine이, 주중 morphine이 검출되었다. 이러한 결과를 바탕으로 주말이 지난 직후인 월요일 오전 채수 시 검출 확률이 높았다.

5. 중계펌프장과 세부 관로 시료를 분석한 결과 중계펌프장에 비해 methamphetamine 7배, ketamine이 50배 높은 지점을 확인했다. 이러한 결과를 바탕으로 모니터링 후 구체적인 세부 지점에서의 검출 현황을 분석해 배출지를 추정하여 마약류 범죄 관련 예방과 단속을 위한 기반을 마련할 수 있을 것이라 사료된다.